First Year Carbon Calculations (prior to construction)

Table 1 - Assessment, Reduction and Mitigation of Indirect GHG Emissions

| Part 1: Identification of GHG Amount Emitted |
| --- |
| Source | Total Annual Electrical Use (MWh/ year) | Current Posted Emissions Factor (lbCO2/MWh) | Total Annual Emissions (metric tons CO2/ year) |
| Project Baseline Design | 274,400 | 780.79 1 | 97,165 |
| Part 2: On-site and Project-Related Reduction of GHG Emissions |
| Reduction due to High-Efficiency Design | (28,244) | 780.79 | (10,001) |
| Green Building Design | (300 to 500) | 780.79 | (106 to 177) |
| On-site Solar Power Generation | (0-777) | 780.79 | (0-275) |
| Recovery of CO2 | N/A | 780.79 | (2,100) |
| Reducing Energy Needs for Water Recycling | (1,950) | 780.79 | (690) |
| Reduced Water Importation | (190,641) | 780.79 | (67,506) |
| Sequestration in Coastal Wetlands if planted prior to project starting. 2 | N/A | 780.79 | (No more than 3.5 Tons/Acre) 100 |
| Subtotal On-site Reduction Measures | (80,540 to 80,886) |
| *Subtotal Without Reduced Water Importation | (12,997 to 13,343) |
| Net Indirect GHG Emissions with Reduced Water Importation | 16,279 to 16,625 |
| Net Indirect GHG Emissions Without Reduced Water Importation | 83,822 to 84,168 |
| Part 3: Additional Off-Site Reductions of GHG Emissions |
| Sequestration Through Reforestation 3 | N/A | 780.79 | CDF #’s (1-3 ton/acre) 0 |
| Potential Renewable Energy Partnerships | (0 - 2,260) | 780.79 | (0 - 800) |
| Subtotal Off-site Measures with SWP 4 | N/A | 780.79 | (245-1,045) |
| Offset and REC Purchases with SWP | N/A |  | (14,189 to 16,135) |
| Offset and REC Purchases without SWP |  |  | (81,732 to 83,678) |
| Net Indirect GHG Emissions | 0 |